## Slide 1
Load Balancers

## Slide 2: Load Balancer
Distributes load
  Multiple servers
  Transparent to users
Redundancy
  No perceived server outages
  Fast correction
High bandwidth applications
  High use web hosting
  High use databases

## Slide 3: Load Balancer
Burden of service is shared
Faster response for users
  Server under less strain
  Handle more concurrent users
Things can get out of sync across multiple servers
  Ex: YouTube, Twitter activity
Internet
Load
Balancer
Server A
Server B
Server C
Notes: When handing off computing load, sometimes application needs to be synchronized.
Great explanation video: https://www.youtube.com/watch?v=RY_2gElt3SA

## Slide 4: Scheduling
Internet
Load
Balancer
Server A
Server B
Server C
Round Robin
  Each server in sequence
Round robin options
  Dynamic round-robin
    Monitor server load and distribute to the server with lowest utilization
  Weighted round-robin
    Prioritize server use
This configuration is Active/Active

## Slide 5: Scheduling
Internet
Load
Balancer
Server A
Server B
Server C
Affinity scheduling
Some web apps require user to remain on same instance
  Each user bound to same server
  Based on user’s IP or session ID
  Source affinity
    Based on where you’re coming from
This configuration is Active/Active

## Slide 6: Active/Passive Setup
Internet
Load
Balancer
Server A
Server B
Server C
Some servers are active
  Others on standby (passive)
If active server goes down, passive server becomes active
  Redundancy
    Drawback, unutilized resources
This configuration is Active/Passive