## Slide 1
Physical Security Controls

## Slide 2: Fences
Define perimeter
  Clearly defined limits
  Can be uninviting (good and bad)
Different types of fencing
  Opaque
  Transparent
Difficult to break through
Prevent climbing
Meant to slow ingress/egress, not 100% prevent

## Slide 3: Rack monitoring and security
Monitoring systems in data centers
  Environmental monitoring
  CCTV cameras
  Enterprise monitoring system
Security
  Closed gates/doors on racks
  Locked
  Fences/cages and gates
Protect physical access to servers and racks

## Slide 4: Guards and Access lists
Security guard
  Provides physical presence
  Deterrent
  Validates employee IDs
  Provides guest access
ID badges
  Picture, name, role
  Must always be worn (visible)
Access list
  Typed, physical list of names
  Enforced by security guard

## Slide 5: Alarms
Circuit-based
  Doors, windows, fence/gates
  Useful on perimeter
Motion detection
  Passive IR (heat)
  RF reflection (similar to radar/sonar)
  Ground vibration (outdoor, fenced area)
  Useful in areas not typically used by staff

## Slide 6: Safe
Secure important hardware and media
Protection from damage
  Fire, water
Difficult to steal
  Heavy
  Bolted in
Must be managed diligently
  Do not share combination
  What happens when combination is lost?

## Slide 7: Protected distribution
Protected Distribution System
  Physically secure network cabling
Protects cable and fibers
Prevents cable and fiber taps
  Direct taps (copper/fiber)
  Inductive taps (copper)
Prevents cable/fiber cuts
  A physical Denial of Service
Sealed metal conduit, periodic visual inspection

## Slide 8: Air gap
Physical separation between networks
  Secure network and insecure network (SIPRnet/NIPRnet)
  Completely separate infrastructures
    Not just segmented - physically separated
Standard networks use shared hardware
  Shared routers, switches, firewalls
Air gap has dedicated hardware
Special networks with air gaps
  Stock market networks
  Power systems/SCADA
  Airplanes

## Slide 9: Mantraps
One person at a time
Prevents tailgating/coat-tailing
Normally locked
  Unlocking one prevents others from unlocking
Normally unlocked
  Opening one door causes others to lock
Some data centers have weight sensors to ensure no hardware is carried out!
Airport exits usually have this
  “Exit only”, “No reentry”

## Slide 10: Faraday cage
Blocks radio signals
Enclosure of conductive material
  Can be actual cage, mesh (metal screen), or solid (aluminum foil/metal locker)
Prevents RF from entering/escaping
  Greatly attenuates signal
  Window of microwave oven is a Faraday cage
Not total solution
  Not all signals are blocked 100%, only attenuated

## Slide 11: Door access controls
Conventional locks
  Lock and key
Deadbolt
  Physical bolt into door frame
ANSI Grades
  Grade 3 – Basic Security. Used for light security residential needs
  Grade 2 – Medium Security. Used in commercial (apartments, businesses)
  Grade 1 – High Security. Used in schools, banks, hospitals
Locks can only slow a determined physical attacker
  10-15 minutes is “military grade” (Medeco Locks) [src: Wired]

## Slide 12: Door access controls
Electronic locks
  No physical key
    Combination/PIN
    Biometric
Token-based locks
  Magnetic swipe
  RFID/proximity card reader
Multifactor
  ProxCard and PIN

## Slide 13: Biometrics
Biometric authentication
  Fingerprint, Iris and retinal scans
Numeric representation of your input
  Picture of fingerprint isn’t usually saved, just coordinates
  Same with iris pattern, retina pattern
Difficult to change
  Can change a password, Can’t change your fingerprint (comfortably)
Used in very secure environments
  Can be slower than other methods
  Not 100% foolproof (nothing ever is)

## Slide 14: Barricades / bollards
Prevent access
  There are limits to the prevention
Channel people to specific entries
  Allow people, prevent vehicles
    See them at malls, stores
Safety concerns
Extreme examples
  Concrete barriers/bollards
  Moats
  Gravel pits

## Slide 15: Tokens and cards
Smart card
  Computer based readers
  May also require PIN (2FA)
USB token
  Digital certificate on USB device
Hardware or software tokens
  Generates codes for one-time use
Increasingly, cell phones
  SMS a code to your phone for one-time use

## Slide 16: HVAC
Heating, Ventilating, and Air Conditioning
A complex science
  Not something to attempt on your own
  Fire system integration
    Don’t want to circulate smoke!
Separate data center HVAC than office workplaces
  Overheating is key concern
  Data center kept much colder
Closed-loop air recirculation, Positive pressurization
  Recycles internal air, air is pushed outward

## Slide 17: Fire suppression
Traditional fire fighting systems use water
  This is not a good thing around electronics!
Suppress with chemicals in data centers
  HFC-227ea
    (Also used in asthma inhalers)
  Halon (old, no longer used)
    Bad for environment
  Foam (messy, leaves residue)

## Slide 18: Cable locks
Temporary, mobile security
  Binds mobile device to something solid
  Cable works almost anywhere
    Hotel, Remote office, etc.
Standard connector
  Officially the Kensington Security Slot
    Developed in early 1990s
  Found on most mobile devices
  Reinforced notch
Not intended for long-term, high-impact protection
  Cable can be easily cut by determined adversary

## Slide 19: Screen filters
Control your input
  Hand movements can give away weak passwords
  Be aware of your surroundings
    Who is behind you? Can someone “shoulder surf”?
Keep monitor aimed away from windows and doors

## Slide 20: Video surveillance
CCTV (Closed Circuit television)
  Can replace physical guards
  Increase guard efficiency
Camera properties are important
  Focal length
  Depth of field
  Lighting requirements
    night vision?
Often part of a networked system
  Multiple cameras, overlapping coverage
    Prevent attacker from obscuring a single camera’s view
  Recorded and stored for long periods

## Slide 21: Logs
Everything gets logged
  Parking facility entering/leaving
  Identification upon entering/leaving the building
  Badge assignment tracks coming/going from rooms
Correlate physical location with digital access
  Someone logged into the console while in the this room
Formal process is needed to collect and store log info
  Logs can be both physical and digital
  Privacy laws may apply
    What local laws/regulation if any apply? Industry regulations?

## Slide 22: Key management
  Control physical access
Keys can be physical or digital
  Protect access
Key generation
  Process to generate keys for access
  Master keys only held by those that need access to all doors
    Create oversight to this access
Key breaches
  Unauthorized use – who has it? Why?
  What happens when a key is compromised?